|  | Date: |  |
| --- | --- | --- |
|  | Inspector: |  |
| Retail License No: |  | Nearest City: |  | County: |  |
| Retail Fireworks Stand Location: |  |
| State Sales Tax Permit No: |  | Stand Operator’s Name: |  |

RETAIL FIREWORKS STAND INSPECTION CHECK LIST

VIOLATIONS:

EXTERIOR								GENERAL

1. Selling within 50 ft. of storage & dispensing of FLAMMABLAES		  20. SMOKING inside or within 50 ft. of retail sales area.

2. No off highway PARKING provided.				  21. Stand operator consuming or under influence of ALCOHOL

3. “NO SMOKING” signs not posted (all 4 sides, 4 inch letters)		  22. Fireworks sold or offered to CHILDREN under 12 years old.

4. Free of combustible debris, dry grass or brush with in 30 ft.					GENERATOR

5. LOCKS unsuitable to prevent unauthorized entry at night.		   23. Generators and Fuel NOT permitted within 20 ft. of sales and storage

6. Electrical feeder (SO cable) line NOT protected from traffic.					 STRUCTURE

7. All electrical wiring SHALL be in accordance with NFPA 70.		  24. Selling fireworks from a single or multi-family structure.

8. All electrical power supply must be properly grounded.		  25. Selling fireworks from a motor vehicle

9. All electrical equipment shall be UL listed and used in accordance.				.OTHER

INTERIOR					  26. ILLEGAL FIREWORKS e.g. Bottle or Pop Rockets, M-80’s

10. Item(s) block pathway of FREE EGRESS to door(s)			  27. Fireworks NOT properly labeled  as Division 1.4 UN0336 or Class C

11. Stand 16 ft. or over doesn’t have TWO EXIT DOORS.	                    28. Retail License must be posted and visible in sales area.

12. Exit door(s) don’t OPEN OUTWARD.				  29. Does not have State of Oklahoma sales tax permit.

13. Door(s) LOCKED when occupied

GENERAL

14. Stand operator must be 16 years of age

15. Sales facility must have one portable fire extinguisher with a                                                                                                                                                                                         minimum 2A/1BC rating. If area exceeds 200 sq. ft. two are required

16. No Cooking equipment within 20 ft., Open flame cooking  equipment shall not be allowed within 50 ft.

17.  Stand with an excess of 50 lbs of 1.4 explosives cannot be any closer than 100 ft. from any public railroad or highway and upon highways, sidewalks, and public property or in assembly or educational occupancies. (Distance is measured from the edge of the highway).

18. Vehicle parking cannot be within 10 ft. of a temporary fireworks retail sales facility or fireworks storage facility.

19. All fireworks must be invoiced from a distributor, wholesaler or other retailer licensed by the State Tax Commission to do business in Oklahoma.

ITEM	ACTION		REQUIRED CORRECTIVE ACTION

Signature of Operator _________________________________________________ Date: ______________															   		               Signature of Inspector _________________________________________________ Date: ______________

# Text boxes

TYPE		Action required by operator                                 A. 		None at this time.			     B.		Correct Violations immediately                             C.		Correct all Violations within 24 hours or sooner D.		Close stand until required action is completed